## Feuil1
Action to be Performed | Action detail | Steps | SubSteps | Client | Server | Protocol | Store location | DataStore Format | Message Obj Name | Comments
Change Configuration |  | Config.Get |  | Android | NAS | http | HVAC_DataBase | Json |  | Change relay name, thermo address etc.
|  | Config.Update |  | Android | NAS | http | HVAC_DataBase | Json
|  | Apply Immediatly | Config.Get | Pi | NAS | http | none
|  |  | Config.Save | Pi |  |  | eRegulation.json | Json |  | Save the last received config locally
|  |  | Config.Apply | Pi | [5 empty] | Restart certain threads
|  | Apply Later | Nothing | [6 empty] | On next reboot, latest config will be used
Change Calendar | Change Calendar | Calendar.Get |  | Android | NAS | http | HVAC_DataBase | Json
|  | Calendar.Update |  | Android | NAS | http | HVAC_DataBase | Json
|  | Apply Immediatly | Config.Get | Pi | NAS | http | none |  |  | Send a test email to addresses in email store (based on configuration
|  |  | Config.Save | Pi |  |  | eRegulation.json | Json
|  |  | Config.Apply | Pi
|  | Apply Later | Nothing
Change Away
| Change Settings (SummerTemp) | [8 empty] | eg. Summer/Winter temp
Immediat Action | Manually change Relay state On/off | RelayState.Get |  | Android | Pi | TCP | JVM
|  | RelayState.Update |  | Android | NAS | http | JVM
| Test email connectivity |  |  | Android | Pi | TCP | JVM/None |  |  | Send a test email to addresses in email store (based on configuration
| Pi : Stop | Immediate.Stop |  | Android | Pi | TCP | None
Pi : Reload Configuration
Pi : Reload Calendars
| Pi : Restart Application | Immediate.Restart |  | Android | Pi | TCP | None
| Pi : Reboot | Immediate.Reboot |  | Android | Pi | TCP | None
Report | Temperature Readings | Send |  | Pi | NAS | http | HVAC_DataBase | Data Format |  | Used for statistics & analysis
Actions performed
Events
Expected Weather |  |  |  | Pi | Web |  | xml | xml